Calibration Register

| Document No. | QMS-REG-CAL-001 | Standard | ISO 9001:2015 Cl. 7.1.5 |
| --- | --- | --- | --- |
| Revision | 2.0 | Issue Date | [Date] |
| Review Frequency | Monthly | Owner | QA Inspector / Quality Manager |

# 1. Purpose

This register lists all measuring and test equipment (M&TE) used for quality conformance decisions at [Organisation Name], records calibration status, and provides the basis for managing the calibration programme. It supports compliance with Clause 7.1.5 of ISO 9001:2015.

# 2. M&TE Inventory

| Item No. | Description | Make / Model | Serial No. | Interval | Cal. Due | Provider | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |

# 3. Status Definitions

- CURRENT:  Calibration is in date and valid. Equipment may be used for acceptance decisions.

- DUE SOON:  Calibration due within 30 days. Action required to schedule calibration before due date.

- OVERDUE:  Calibration due date has passed. Equipment MUST NOT be used for acceptance decisions until recalibrated.

- OUT OF SERVICE:  Equipment is unavailable due to fault, damage, repair or pending calibration. Tagged and quarantined.

# 4. Out-of-Calibration Response Summary

If an instrument is found to be out of calibration, refer to QMS-PRO-006 §7 for the full response procedure. Summary:

- Remove the instrument from service immediately. Tag DO NOT USE.

- Notify QA Inspector and Quality Manager the same working day.

- Identify all measurements taken with the instrument since its last valid calibration.

- Assess whether nonconforming product may have been accepted based on the suspect measurements.

- If product may have been released, raise an NCR (QMS-FRM-NCR-001) and CAR (QMS-FRM-CAR-001).

- Document the assessment regardless of outcome.

- Recalibrate or replace before returning the instrument to service.

# 5. Traceability

All calibration must be traceable to national measurement standards. Preferred providers are accredited by the National Association of Testing Authorities (NATA) or by a recognised mutual recognition partner. Calibration certificates must reference the accreditation number, the measurement uncertainty, and the standard to which the calibration is traceable.

Where no national standard exists for a particular measurement, the basis of calibration is documented and approved by the Quality Manager.

# 6. Records Retention

| Register itself | Maintained as a controlled document. Reviewed monthly by QA Inspector. |
| --- | --- |
| External calibration certificates | Filed by QA Inspector. Retained for life of equipment + 3 years. |
| Internal calibration records | Filed by QA Inspector. Retained 7 years. |
| Out-of-calibration assessments | Filed with relevant NCR record. Retained 7 years. |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| QA Inspector |  |  |  |
| Quality Manager |  |  |  |
| Managing Director |  |  |  |

✎ HOW TO COMPLETE THIS DOCUMENT — DELETE THIS SECTION BEFORE PUBLISHING

Use these notes to tailor, complete and finalise this document before publication. Delete this section once done.

1. Run a complete M **&****TE inventory** Walk the workshop, QA office, and any vehicles or site kits. Capture every instrument used for acceptance decisions. Include personally-owned tools used for company work.

2. Assign a unique item number to each instrument Format suggestion: MTE-### (e.g. MTE-001, MTE-002). Number tags should be applied physically to each instrument.

3. Determine calibration interval for each Default 12 months. Shorter for harsh-environment or safety-critical instruments. Longer (up to 24 months) only with documented drift history.

4. Collect current calibration certificates If you don't have a current certificate for an instrument, either calibrate it or quarantine it.

5. Assign a NATA-accredited provider For Critical M&TE (anything used for safety-related acceptance), NATA accreditation is strongly preferred. Confirm the provider is current.

6. Set up due-date alerting Diarise calibration due dates 60, 30 and 14 days ahead. The QMS Portal can automate this.

7. Confirm out-of-cal response readiness Make sure RED OUT OF CALIBRATION tags are in stock at the QA office. Confirm everyone knows the steps in Section 4.

8. Schedule the monthly register review Set a recurring monthly slot for the QA Inspector to walk this register and flag DUE SOON and OVERDUE items.

9. DELETE this guidance section before publishing Select the entire yellow-bordered block and delete.

QMS-REG-CAL-001  •  Rev 2.0	CONTROLLED DOCUMENT — verify currency before use	Page  of